## Home_Maintenance___Tasks_Master
task_code | category | task_name | base_frequency | months_hot_humid | months_cold_snow | months_mixed | months_arid_mountain | seasonal_tag | how_to | why_it_matters | est_minutes | materials | safety_note | applies_if_freeze | applies_if_hurricane | applies_if_wildfire | applies_if_hard_water | applies_if_has_sprinklers | pro_service_recommended | diy_ok
HVAC_FILTER | HVAC | Replace HVAC/AC filter | every_2_months | 2,4,6,8,10,12 | 1,3,5,7,9,11 | 2,5,8,11 | 2,5,8,11 |  | Turn off system. Open return grille or air handler. Slide old filter out. Insert new one (arrow points toward airflow). | If allergies, pets, or construction dust, replace monthly. | 10 | New filter (size on old filter), gloves | Power off before accessing equipment. | 0 | 0 | 0 | 0 | 0 | 0 | 0
HVAC_TUNEUP_COOL | HVAC | Schedule HVAC tune‑up (cooling) | seasonal | 4 | 4 | 4 | 4 | pre_summer | Licensed tech checks refrigerant, coils, electrical, and safety; change filter afterward. | Do this before heat waves to avoid breakdowns. | 30 |  | Choose licensed/insured contractor. | 0 | 0 | 0 | 0 | 0 | 1 | 0
HVAC_TUNEUP_HEAT | HVAC | Schedule furnace/heat tune‑up | seasonal | 10 | 9 | 10 | 9 | pre_winter | Licensed tech cleans burners, checks heat exchanger and safety sensors. | Prevents CO risk and improves efficiency. | 30 |  | Install CO detector near sleeping areas. | 1 | 0 | 0 | 0 | 0 | 1 | 0
AC_COILS_CLEAN | HVAC | Clean outdoor AC condenser coils | annual | 4 | 5 | 5 | 4 |  | Shut power off. Gently hose debris from fins; keep shrubs 2 ft away. | Do not bend fins; use garden hose only. | 20 | Garden hose, coil brush (optional) | Ensure power is OFF at disconnect. | 0 | 0 | 0 | 0 | 0 | 0 | 1
CONDENSATE_DRAIN_FLUSH | HVAC | Flush AC condensate drain | annual | 5 | 5 | 5 | 5 |  | Pour 1 cup white vinegar into condensate drain access to prevent clogs. | Helps avoid water leaks during summer. | 10 | White vinegar, small funnel | Do not mix with bleach if lines/pump specify otherwise. | 0 | 0 | 0 | 0 | 0 | 0 | 1
WATER_HEATER_FLUSH | Plumbing | Flush water heater | annual | 10 | 10 | 10 | 10 |  | Turn off heater (gas to pilot / power off). Connect garden hose to drain valve. Open valve until water runs clear. | Sediment removal extends life and efficiency. | 45 | Garden hose, bucket, gloves | Water is HOT—allow to cool if needed. | 0 | 0 | 0 | 0 | 0 | 0 | 1
TPR_VALVE_TEST | Plumbing | Test water heater T&P relief valve | annual | 10 | 10 | 10 | 10 |  | Lift test lever briefly to ensure water flows; release to reseat. | Ensures valve will relieve pressure safely. | 5 | Towel/bucket | May drip; stand clear of hot water. | 0 | 0 | 0 | 0 | 0 | 0 | 1
LEAK_CHECK | Plumbing | Check for leaks (sinks, toilets) | quarterly | [5 empty] | Look for drips under sinks, around toilets; listen for running toilets. | Fix small leaks early to avoid damage. | 10 | Flashlight, paper towel |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
OUTDOOR_SPIGOT_WINTERIZE | Plumbing | Winterize outdoor spigots | seasonal | 11 | 10 | 10 | 10 | pre_freeze | Disconnect hoses; install faucet covers; shut interior valve if available. | Prevents frozen pipes and bursts. | 15 | Faucet covers, hose gaskets | Close interior shutoff if present. | 1 | 0 | 0 | 0 | 0 | 0 | 0
MAIN_SHUTOFF_TEST | Plumbing | Test main water shutoff valve | annual | 3 | 3 | 3 | 3 |  | Locate main valve; turn off briefly to ensure it works; turn back on and check fixtures. | In emergencies, a working valve prevents damage. | 10 | Adjustable wrench (if needed) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUMP_PUMP_TEST | Plumbing | Test sump pump | annual | 4 | 4 | 4 | 4 |  | Pour a bucket of water into the pit—pump should start and discharge. | Prevents flooding during storms. | 10 | Bucket |  | 0 | 0 | 0 | 0 | 1 | 0 | 0
GUTTERS_SPRING | Roof/Exterior | Clean gutters (spring) | seasonal | 3 | 4 | 4 | 4 |  | Wear gloves; scoop debris; flush with hose; confirm downspouts flow. | Avoid roof leaks and foundation damage. | 45 | Gloves, scoop, garden hose | Use ladder safely; avoid roof walking. | 0 | 0 | 0 | 0 | 0 | 0 | 0
GUTTERS_FALL | Roof/Exterior | Clean gutters (fall) | seasonal | 10 | 10 | 10 | 10 |  | Repeat gutter cleaning before winter storms. |  | 45 | Gloves, scoop, garden hose | Use ladder safely; avoid roof walking. | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROOF_INSPECT | Roof/Exterior | Inspect roof (from ground) | annual | 3 | 9 | 9 | 3 |  | Use binoculars: look for lifted/missing shingles, damaged flashing; check ceilings for stains. | Early fixes prevent leaks. | 15 | Binoculars | Stay off roof unless trained. | 0 | 0 | 0 | 0 | 0 | 0 | 0
SIDING_CAULK_CHECK | Roof/Exterior | Inspect siding/caulking/paint | annual | 4 | 5 | 5 | 4 |  | Walk around home; seal gaps with exterior caulk; touch-up paint as needed. | Keeps water and pests out. | 30 | Exterior caulk, caulk gun | Follow paint/caulk cure times. | 0 | 0 | 0 | 0 | 0 | 0 | 0
DECK_INSPECT | Roof/Exterior | Inspect deck/railing & reseal if needed | annual | 5 | 5 | 5 | 5 |  | Check for loose boards/rails; clean; apply sealer/stain per instructions. | Prevents rot and injuries. | 60 | Wood cleaner, sealer/stain, brush | Eye/skin protection with chemicals. | 0 | 0 | 0 | 0 | 0 | 0 | 0
IRRIGATION_STARTUP | Yard/Outdoor | Check/start irrigation system | seasonal | 4 | 4 | 4 | 4 |  | Turn on water; run each zone; replace broken/clogged heads; set schedule. | Saves water and keeps lawn healthy. | 30 | Replacement heads, small shovel |  | 0 | 0 | 0 | 0 | 0 | 0 | 1
IRRIGATION_WINTERIZE | Yard/Outdoor | Winterize sprinklers | seasonal | 11 | 10 | 10 | 10 | pre_freeze | Shut main irrigation valve; open drain; blow out lines with compressor or hire pro. | Prevents freeze damage. | 45 | Air compressor (or hire pro) | Wear eye protection; know system layout. | 1 | 0 | 0 | 0 | 0 | 0 | 1
PEST_PERIMETER_CHECK | Yard/Outdoor | Inspect perimeter for pests | quarterly | [5 empty] | Look for gaps at doors/windows; seal openings; clear wood piles away from house. | Discourages rodents/insects. | 15 | Exterior caulk/foam |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRYER_VENT_CLEAN | Appliances | Clean dryer vent/duct | annual | 5 | 5 | 5 | 5 |  | Unplug dryer; disconnect duct; vacuum lint; brush vent to exterior; reattach. | Prevents fires and speeds drying. | 45 | Vacuum, dryer vent brush kit | Metal ducts only; avoid plastic flex ducts. | 0 | 0 | 0 | 0 | 0 | 0 | 1
FRIDGE_COILS_CLEAN | Appliances | Clean refrigerator coils | annual | 3 | 3 | 3 | 3 |  | Unplug; use coil brush and vacuum to remove dust from rear or bottom coils. | Improves efficiency and life. | 20 | Coil brush, vacuum | Mind sharp edges; plug back in. | 0 | 0 | 0 | 0 | 0 | 0 | 1
DISHWASHER_FILTER | Appliances | Clean dishwasher filter | quarterly | [5 empty] | Remove bottom rack; twist filter; rinse under warm water; replace. | Prevents odors and boosts cleaning. | 10 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
RANGE_HOOD_FILTER | Appliances | Clean range hood filter | quarterly | [5 empty] | Remove mesh filter; soak in warm soapy water; scrub; dry; reinstall. | Keeps kitchen air clean. | 15 | Dish soap, soft brush |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ICE_MAKER_FILTER | Appliances | Replace fridge ice/water filter | semi_annual | 1,7 | 1,7 | 1,7 | 1,7 |  | Purchase model‑specific filter; twist/push to replace; run water to flush. | Improves taste; reduces scale. | 10 | Replacement filter |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
WASHER_MAINTENANCE | Appliances | Run washer clean cycle & check hoses | annual | 8 | 8 | 8 | 8 |  | Use washer cleaner on 'tub clean' cycle; inspect hoses for bulges/cracks; replace if >5 yrs. | Prevents leaks and odors. | 15 | Washing machine cleaner |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
SMOKE_TEST | Safety | Test smoke alarms | monthly | [5 empty] | Press and hold the test button until alarm sounds. | Replace battery if weak sound. | 2 |  | Hearing protection if sensitive. | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO_TEST | Safety | Test carbon monoxide detectors | monthly | [5 empty] | Press test button; confirm alarm; replace unit if no response. |  | 2 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ALARM_BATTERY | Safety | Replace smoke/CO alarm batteries | annual | 11 | 11 | 11 | 11 |  | Open alarm; swap battery; test. For sealed 10‑yr alarms, replace unit when chirping. |  | 10 | 9V/AA battery | Use a stable ladder. | 0 | 0 | 0 | 0 | 0 | 0 | 0
GFCI_TEST | Interior | Test GFCI outlets | quarterly | [5 empty] | Press 'TEST' to trip, then 'RESET' to restore power. | Ensures protection near water. | 3 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAN_DIRECTION | Interior | Reverse ceiling fans (seasonal) | semi_annual | 5,11 | 5,11 | 5,11 | 5,11 |  | Flip tiny switch on fan body: counter‑clockwise for summer, clockwise for winter. | Improves comfort and saves energy. | 5 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
WEATHERSTRIP_CHECK | Interior | Check weatherstripping & door sweeps | annual | 9 | 9 | 9 | 9 |  | Close door on a sheet of paper; if it pulls out easily, replace seals/sweeps. | Reduces drafts and bills. | 20 | Replacement seals/sweeps |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
GARAGE_SAFETY | Safety | Test garage door auto‑reverse | annual | 3 | 3 | 3 | 3 |  | Place a 2x4 on floor under door; close door—it should reverse on contact. | Adjust or service if not reversing. | 5 | Scrap 2x4 | Keep hands clear of moving parts. | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUMMER_PREP | Seasonal Prep | Get ready for summer (filters, AC, gutters) | seasonal | 5 | 5 | 5 | 5 | pre_summer | Replace filters; confirm AC tune‑up booked; clean gutters for thunderstorm season. |  | 15 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
WINTER_PREP | Seasonal Prep | Get ready for winter (furnace, pipes, roof) | seasonal | 11 | 10 | 11 | 10 | pre_winter | Book heat tune‑up; insulate exposed pipes; check roof and gutters. |  | 20 | Pipe insulation |  | 1 | 0 | 0 | 0 | 0 | 0 | 0
HURRICANE_PREP | Seasonal Prep | Hurricane season prep | seasonal | 6 | 6 | 6 | 6 |  | Trim trees, clear drains, stock supplies (water, batteries), review insurance; secure outdoor items. | Applicable to coastal/high‑risk areas only. | 30 | Batteries, water, first‑aid kit | Follow local emergency guidance. | 0 | 1 | 0 | 0 | 0 | 0 | 0
WILDFIRE_DEFENSE | Seasonal Prep | Create wildfire defensible space | annual | 5 | 5 | 5 | 5 |  | Clear dry leaves/brush within 5–30 ft of home; clean roof/gutters; use ember‑resistant vents if possible. | Applicable to wildfire‑prone regions. | 60 | Rake, pruners | Check local restrictions before clearing. | 0 | 0 | 1 | 0 | 0 | 0 | 0
FREEZE_PREP | Seasonal Prep | Hard freeze prep | as_needed |  |  |  |  | pre_freeze | Drip indoor faucets; open cabinet doors for warm air; add faucet covers; protect exposed pipes. | For hard‑freeze warnings only. | 15 | Faucet covers, pipe insulation |  | 1 | 0 | 0 | 0 | 0 | 0 | 0

## Test Cases
Here’s a concise, end-to-end test script you can paste into your QA doc. It covers the current core features (site, CTAs, forms, payments, webhooks, emails/SMS, APIs) and includes a few “Phase 2” rows for reminders/QR onboarding if/when you ship them.
UpkeepQR — Master Test Script
| Feature / Area | Test Steps | Expected Result | Initial Test | Final Test
Site | Home page loads | Visit https://upkeepqr.com. | Page loads <2s on broadband, no console errors, hero text visible. | Pass
Site | Responsive layout | Resize to 320px, 768px, 1024px, 1440px. Test on iPhone/Android emulators. | Layout adapts; header doesn’t wrap awkwardly; CTAs remain visible. | Pass
Site | Header menu items | Click Home, Order Magnet, Contact in header. | Each item routes to the correct page; active state highlighted. | Pass
Site | Header “Order magnets” CTA | Click the green Order magnets button in header. | Opens Single magnet Stripe Payment Link (default). | Pass
Site | Footer links | Click Privacy, Terms, FAQ, support@upkeepqr.com. | Nav to pages; email link opens mail client with address prefilled.
Site | Pricing cards render | Open /pricing. | 3 plans render with titles and price copy (Single/100-pack/300-pack). | Pass
Site | Pricing → Single magnet | Click Order 1-pack (or card CTA). | Opens Single Magnet Stripe Payment Link URL. | Pass
Site | Pricing → 100-pack | Click Order 2-pack. | Opens 100-pack Stripe Payment Link URL. | Pass
Site | Pricing → 2-pack | Click Order 100-pack. | Opens - 2pack Stripe Payment Link URL. | Pass
Site | Stripe link correctness | Hover/copy each Pricing button URL. Compare to configured links. | URLs exactly match the 1/100/300 Payment Links you set in settings. | Pass |  | Create a footer with links for Privacy, Terms,
Site | Contact button in header | Click Contact. | Jumps to Contact Us page/section with form visible. | Pass
Site | Contact form – validation | Submit blank; then invalid email; then valid data. | Inline validation errors; only valid submit succeeds. | Pass
Site | Contact form – submit | Submit with: Name, Email, Phone, Message. | “Thank you” toast; network call POST /contact returns 200. | Pass
Site | Contact notification – support | After submit, check support inbox/SMS. | Email sent to support@upkeepqr.com (or configured); SMS sent if phone configured for alerts. | Pass
Site | Contact auto-ack – user | Check the user inbox (the email entered). | Auto-acknowledge email received with friendly copy. | Pass
Site | Request-a-Pro form – validation | Open Request a Pro page; try invalid/empty; then valid. | Same validation behavior as Contact. | Pass
Site | Request-a-Pro submission | Submit with realistic payload (service type, ZIP, contact). | API POST /request-pro returns 200; success toast displayed. | Pass
Site | Request-a-Pro notifications | Check support inbox; check requester inbox. | Support gets payload email; user gets confirmation email. | Pass
Site | Fee Listing form – validation | Open List Your Property page; test invalid/blank. | Validation prevents submit. | Pass
Site | Fee Listing – submit | Submit with property address, contact name/email, notes. | API POST /fee-listing returns 200; success toast visible. | Pass
Site | Fee Listing notifications | Check support inbox; check lister inbox. | Support gets full payload; lister gets receipt email. | Pass
Site | API health | curl -s https://<your-cloud-run-domain>/api/ | Returns {"ok":true} with HTTP 200. | Pass
Site | CORS (forms) | Submit forms from the production domain; verify no CORS errors. | No CORS failures in DevTools; requests succeed.
Site | Rate-limit / abuse (smoke) | Submit the same form 3–5x rapidly. | Server accepts a small burst; no 500s. (If rate-limit added, returns 429 with friendly message.)
Site | Stripe Checkout – success flow | Use Stripe’s test card 4242 4242 4242 4242 via Single magnet link; complete checkout. | Checkout succeeds; you see Stripe “Success” page; payment appears in Stripe Payments (test mode).
Site | Stripe Webhook – endpoint reachable | In Stripe Dashboard → Developers → Webhooks, send Test checkout.session.completed to your endpoint. | Endpoint returns 2xx; Stripe shows “Test sent successfully.”
Site | Stripe Webhook – confirmation email | After test webhook, check support + buyer inbox. | Order confirmation email(s) sent per your function logic.
Site | Stripe Webhook – error handling | Send a random event type in webhook test. | Function ignores gracefully (2xx or logged 4xx), no crash/timeout.
Site | Email delivery (provider) | Verify provider used (SendGrid/Postmark/Twilio SendGrid). | Emails appear in provider activity log; DKIM/SPF pass, no bounces.
Site | SMS (if Twilio enabled) | Trigger a path that sends SMS (e.g., Contact ack if configured). | Message delivered to target number; Twilio shows 200 + delivered.
Site | Secrets present | Temporarily log env presence in non-prod or run env print. | Required vars set: SENDGRID_API_KEY (or POSTMARK_SERVER_TOKEN), SUPPORT_EMAIL, TWILIO_* (if used).
Site | Functions cold/warm start | Hit /api/ twice within a minute. | First call slightly slower; second is fast; both 200 OK.
Site | 404/500 handling | Visit a non-existent route /not-found; simulate a server error (bad payload). | Friendly 404 page; JSON error with 500 path includes ok:false and message.
Site | Accessibility – keyboard | Tab through header, forms, CTAs, modals. | Focus states visible; Enter/Space activate links/buttons.
Site | Accessibility – contrast/alt | Run Lighthouse or axe; check images for alt. | No serious a11y violations; contrast ≥ AA.
Site | Performance/Lighthouse | Run Lighthouse (mobile + desktop). | Performance ≥ 85, Accessibility ≥ 90, SEO ≥ 90.
Site | SEO basics | View source; check <title>, <meta name="description">, OG tags. | Present and accurate; no duplicate titles; canonical present.
Site | Analytics/UTM | Visit with ?utm_source=test&utm_medium=qa; check GA4 events. | Page_view captured; UTM parameters visible in GA4 debug view.
Site | Backup/rollback | Note function version; deploy a small change; test rollback. | You can revert Cloud Functions/Hosting to the prior working revision.
App | (Phase 2) QR onboarding | Scan a test magnet QR → onboarding URL; submit address/ZIP/home systems. | Onboarding completes; profile created; success message.
App | (Phase 2) Task scheduling | After onboarding, open Tasks; verify localized schedule for ZIP. | Tasks populated per locale; dates in user’s timezone.
App | (Phase 2) Welcome email/iCal | Complete onboarding. | Welcome email received; iCal feed URL available/valid.
App | (Phase 2) Reminder job | Trigger daily job (test mode) or wait; set a task due today. | Email/SMS reminder sent; task marked as “due” in UI.
App | (Phase 2) Mark done / Snooze | From reminder, click Mark done; then test Snooze on another. | Completion logged and next due calculated; snoozed task rescheduled.
App | (Phase 2) Book a Pro routing | Click Book a Pro on a task; submit request. | Lead routed to partner by ZIP/category; user gets intro; partner gets lead.
App | Pointers & sample commands
curl -i https://<your-cloud-run-domain>/api/
Contact form API (direct)
curl -i -X POST https://<your-cloud-run-domain>/api/contact \
-H "Content-Type: application/json" \
-d '{"name":"QA Bot","email":"qa+user@upkeepqr.com","phone":"+14045551234","message":"Hello from QA"}'
Request a Pro (direct)
curl -i -X POST https://<your-cloud-run-domain>/api/request-pro \
-H "Content-Type: application/json" \
-d '{"name":"QA Bot","email":"qa+pro@upkeepqr.com","zip":"30301","category":"HVAC"}'
Fee Listing (direct)
curl -i -X POST https://<your-cloud-run-domain>/api/fee-listing \
-H "Content-Type: application/json" \
-d '{"name":"Owner QA","email":"qa+owner@upkeepqr.com","address":"123 Test St, Atlanta GA","notes":"QA submission"}'
Tip: keep a one-page “Test Data” sheet with a buyer test email, support inbox, and a real phone you can receive SMS on, plus your three Stripe test Payment Links (Single/100/300) so any tester can run this in minutes.
Customer Experience:
e
✅ Order confirmed in your system
✅ Admin team notified
✅ Customer will receive professional confirmation email with LSA (Listing Service Agreement)

## Account Secrets
Email: samuel@upkeepqr.com
| UpKeep2025!Admin |  | git add . git commit -m "Fix appliance button visibility in Setup Forms Dashboard" git push origin main
URL: http://localhost:5173/login
ADMIN_API_TOKEN | admin_test_token_901322
ADMIN_EMAILS
samuel@upkeepqr.com
FIREBASE_SERVICE_ACCOUNT_KEY | { "type": "service_account", "project_id": "georgia-top-roofer", "private_key_id": "333f2b1b1e942ba51b163b1e678412b4aafafe27", "private_key": "-----BEGIN PRIVATE KEY-----\nMIIEvQIBADANBgkqhkiG9w0BAQEFAASCBKcwggSjAgEAAoIBAQCr4WBT2mxZr620\n8Sx5OT+kvq+38CRm18BYzKCf69PkWCCEK72I7+bzyDbomdXXWgiSrcHLpZMmhTiL\nk/WEnXfzDFnJG6Hg+YhrJp0ClBrLWo9JhRwluBijixbfePH8KGYpxTfHbdeZpZzN\nDWApRwzoch/TjGn8PFgKJrbiRNe+X34guEXzNkBrMP1l1byLFzCH6sDo05S0BgNK\ndkoIsh43aYO9gtibiAviXJtCSmI7UFuxHfxRNTOuNIwZ2LCndkkgu6RsiQyJWYZr\nsDMs/8ZMHIcv7BgaKsN1wu0PenjkCQScKs18KtqO9CTw4B1TekhZoMe75ZpJvBmD\nnraMSdFLAgMBAAECggEAFAgFonAmctizErniwtP7CK0Cge+A8TgRc308S7b/xbEc\nRQXAppNoTp6rAOELgiK8319UYnKkW3e+NyIiGc0CUYyYcC7XZwad2/hZkcHcp44h\nJzfV/R1fSGa+3oIpbYebHyDGwegZbuTVXokXB73UkXMve1z2GHlDPMJLS8PV2EVL\nxNKJuBZHb2BFRLIQBCPGxpE8xyjJ84nzM8TNmuv4Pt9e6N+E14oHoEmkV4znX5kV\nxWdCqDJb3G7xZDtg8J4pFBKRxDptsX0zrw4D9I3kgpCPBa2yCfQ0XEhXSrxEBIZg\n2kkXFaCBisoOnSgHO+urwnBPnb/YGrCAygfKJ6a20QKBgQDwSF1B3DIJMYdnh754\nHrFC0rrlsHb19VKxCK9roMGTga2JLN3ZKeD01gfDdHbNsRFb2DLtXk6PTVPwGJ0m\nizRbCGRd1OEIHDML+GbNUrfyiJXWLuSlYJ+Il+DhurlTC0KNNE9amVDYjGNotyur\nT+d+Jo7KLTzKDyW3KQSHg9zBmwKBgQC3H5Yd6pskxjoz0EsBYcZG62DkToxM6Cot\nTWPyTssi7b5VEJxQsZSG7I8kX6FDFlJ16w+rIrUURC6SMIWoSYwbyzT5453rhpaB\nGbuaMufTZBPbqHgMSmz4UYW0/7xbiCcZ4Ccm7yH2xZUyQVYjA+f6tlJnRNxyOnG2\nGfvXbRVCEQKBgElC5xxDlQX0kgJhAxQA1682LUIHEd5gVDwiF8pLE3p0GYMvqNyj\nxjEgaPGROv/wMwi73Js/G9jZjPQxrQipfOccoe1yEMK2RmIp9L45sFhEiNrrJU+/\nLCUrmad5lTPaxQnknyVShbHg7BZrcuciz8RI4VSHgndhMvCrkvP2ooJtAoGBAK4U\nHMQ7rVf8CIAQ1fxuUepA/06JTN4fJVkDZKuHM5v0nSaIL9CVvzez0S8mqUn5AlKO\nLcrlp3Woiwz1i1k68THKroWOVyT6QEBhkfE3yyEs1aPONrCYX5Z/CLfTE99/Qoxa\nhV2BnavUj8vCSHvozrGKeDMrRtRfspEFil5zl+3BAoGANSbASPlpKJabWs+MVkCm\nAc6bFzjFc0ri4l/jtgCNBVyFZldZy4IPXXYVXRSmJ14D7JJbcxFRR+JYMZpaffeG\n8mxW8iygzuxaE41geqhdlatG/yKTphoeLSYw+K4yPfyTmRfkdPkEbKL/m4SsmlIF\nVdeaxd6vKJj0ne+FZ+gmh5o=\n-----END PRIVATE KEY-----\n", "client_email": "firebase-adminsdk-fbsvc@georgia-top-roofer.iam.gserviceaccount.com", "client_id": "114863339315507407335", "auth_uri": "https://accounts.google.com/o/oauth2/auth", "token_uri": "https://oauth2.googleapis.com/token", "auth_provider_x509_cert_url": "https://www.googleapis.com/oauth2/v1/certs", "client_x509_cert_url": "https://www.googleapis.com/robot/v1/metadata/x509/firebase-adminsdk-fbsvc%40georgia-top-roofer.iam.gserviceaccount.com", "universe_domain": "googleapis.com" }
FROM_EMAIL | support@upkeepqr.com | infinty
FROM_NAME | UpKeepQR Team
JWT_SECRET | JWT_SECRET=6a8f1d2c3b4e596a7c8d9e0f1a2b3c4d5e6f708192a3b4c5d6e7f8091a2b3c4d
POSTMARK_API_TOKEN | dfb83dfd-cea1-4874-9b71-80b0bbb3e945
SENDGRID_API_KEY | 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
SENDGRID | SKc7cafb3a2fddaab64d4609fbc5d89867
SENDGRID API Key ID: | 5IhnRaHlRPKgQc3Oru5ibQ
SENDGRID SECRETE | oU10vZH0YF1iQIlWRiygEqeioDGNys4u
STRIPE_WEBHOOK_SECRET | whsec_EI8c7jmUSIlcwwDLe7yWBct7PyMhH4G3
TESTING_STRIPE_SECRET_KEY | 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
TESTING_VITE_STRIPE_PUBLIC_KEY | sk_test_51S1xsKDCF1d9RFesYHI3WnRsDYXEUuZUxWvfcbxU4U0cYQPppmUsdj3OFRXryN7HuMC6elOmdJ7H1VvN0cPWHieQ00ufS4FHwJ
TWILIO_ACCOUNT_SID | AC867696f36d786befd9983a9bba35dfd3
TWILIO_AUTH_TOKEN | 717eb0b96fb9b9ba911eb05595a6b7c1
TWILIO_PHONE_NUMBER | 18555151435
VITE_FIREBASE_APP_ID | JWT_SECRET=6a8f1d2c3b4e596a7c8d9e0f1a2b3c4d5e6f708192a3b4c5d6e7f8091a2b3c4d
VITE_FIREBASE_PROJECT_ID | JWT_SECRET=6a8f1d2c3b4e596a7c8d9e0f1a2b3c4d5e6f708192a3b4c5d6e7f8091a2b3c4d
Github Access Token | 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

## App Secrets
SESSION_SECRET | yrYm+Pa7v7qkaucKKZzpbDWRZtQX6tRZ2OVS+DnU9nmbCbWcq6h6r/fqyccTEPdlnhcfC1+Z9sFlVmb9GyRVtA==
DATABASE_URL | postgresql://neondb_owner:npg_RyTIUD76sXwl@ep-fancy-field-aew7y798.c-2.us-east-2.aws.neon.tech/neondb?sslmode=require
PGDATABASE | neondb
PGHOST | ep-fancy-field-aew7y798.c-2.us-east-2.aws.neon.tech
PGPORT | 5432
PGUSER | neondb_owner
PGPASSWORD | npg_RyTIUD76sXwl
STRIPE_SECRET_KEY | sk_test_51S1xsKDCF1d9RFesYHI3WnRsDYXEUuZUxWvfcbxU4U0cYQPppmUsdj3OFRXryN7HuMC6elOmdJ7H1VvN0cPWHieQ00ufS4FHwJ
VITE_STRIPE_PUBLIC_KEY | pk_test_51S1xsKDCF1d9RFesn71RIzpTPp7NMSJQ2fgHxUNkMmw7HVvusEgfzOSjifK0684tvhAygyDlTBmTNQYH78wAgVHz00OSU4RzHm
TWILIO_FROM | 1 551 348 7475
TWILIO_SID | ACb17ca2c5c3e1b41e34ee42190d3be714
TWILIO_TOKEN | 04640759bd3853f6620544b2debcc619
GOOGLE_API_KEY | AIzaSyD0PBhPB0M8iGh4M8moeu6u87ao8dxTGM8
GITHUB_TOKEN | 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
DEFAULT_OBJECT_STORAGE_BUCKET_ID | replit-objstore-adf608d0-a1bd-4eda-a0e4-5d35bca94f56
PUBLIC_OBJECT_SEARCH_PATHS | /replit-objstore-adf608d0-a1bd-4eda-a0e4-5d35bca94f56/public
PRIVATE_OBJECT_DIR | /replit-objstore-adf608d0-a1bd-4eda-a0e4-5d35bca94f56/.private
ADMIN_API_TOKEN | admin_test_token_901322
ADMIN_EMAILS | samuel@upkeepqr.com
FIREBASE_SERVICE_ACCOUNT_KEY | { "type": "service_account", "project_id": "georgia-top-roofer", "private_key_id": "333f2b1b1e942ba51b163b1e678412b4aafafe27", "private_key": "-----BEGIN PRIVATE KEY-----\nMIIEvQIBADANBgkqhkiG9w0BAQEFAASCBKcwggSjAgEAAoIBAQCr4WBT2mxZr620\n8Sx5OT+kvq+38CRm18BYzKCf69PkWCCEK72I7+bzyDbomdXXWgiSrcHLpZMmhTiL\nk/WEnXfzDFnJG6Hg+YhrJp0ClBrLWo9JhRwluBijixbfePH8KGYpxTfHbdeZpZzN\nDWApRwzoch/TjGn8PFgKJrbiRNe+X34guEXzNkBrMP1l1byLFzCH6sDo05S0BgNK\ndkoIsh43aYO9gtibiAviXJtCSmI7UFuxHfxRNTOuNIwZ2LCndkkgu6RsiQyJWYZr\nsDMs/8ZMHIcv7BgaKsN1wu0PenjkCQScKs18KtqO9CTw4B1TekhZoMe75ZpJvBmD\nnraMSdFLAgMBAAECggEAFAgFonAmctizErniwtP7CK0Cge+A8TgRc308S7b/xbEc\nRQXAppNoTp6rAOELgiK8319UYnKkW3e+NyIiGc0CUYyYcC7XZwad2/hZkcHcp44h\nJzfV/R1fSGa+3oIpbYebHyDGwegZbuTVXokXB73UkXMve1z2GHlDPMJLS8PV2EVL\nxNKJuBZHb2BFRLIQBCPGxpE8xyjJ84nzM8TNmuv4Pt9e6N+E14oHoEmkV4znX5kV\nxWdCqDJb3G7xZDtg8J4pFBKRxDptsX0zrw4D9I3kgpCPBa2yCfQ0XEhXSrxEBIZg\n2kkXFaCBisoOnSgHO+urwnBPnb/YGrCAygfKJ6a20QKBgQDwSF1B3DIJMYdnh754\nHrFC0rrlsHb19VKxCK9roMGTga2JLN3ZKeD01gfDdHbNsRFb2DLtXk6PTVPwGJ0m\nizRbCGRd1OEIHDML+GbNUrfyiJXWLuSlYJ+Il+DhurlTC0KNNE9amVDYjGNotyur\nT+d+Jo7KLTzKDyW3KQSHg9zBmwKBgQC3H5Yd6pskxjoz0EsBYcZG62DkToxM6Cot\nTWPyTssi7b5VEJxQsZSG7I8kX6FDFlJ16w+rIrUURC6SMIWoSYwbyzT5453rhpaB\nGbuaMufTZBPbqHgMSmz4UYW0/7xbiCcZ4Ccm7yH2xZUyQVYjA+f6tlJnRNxyOnG2\nGfvXbRVCEQKBgElC5xxDlQX0kgJhAxQA1682LUIHEd5gVDwiF8pLE3p0GYMvqNyj\nxjEgaPGROv/wMwi73Js/G9jZjPQxrQipfOccoe1yEMK2RmIp9L45sFhEiNrrJU+/\nLCUrmad5lTPaxQnknyVShbHg7BZrcuciz8RI4VSHgndhMvCrkvP2ooJtAoGBAK4U\nHMQ7rVf8CIAQ1fxuUepA/06JTN4fJVkDZKuHM5v0nSaIL9CVvzez0S8mqUn5AlKO\nLcrlp3Woiwz1i1k68THKroWOVyT6QEBhkfE3yyEs1aPONrCYX5Z/CLfTE99/Qoxa\nhV2BnavUj8vCSHvozrGKeDMrRtRfspEFil5zl+3BAoGANSbASPlpKJabWs+MVkCm\nAc6bFzjFc0ri4l/jtgCNBVyFZldZy4IPXXYVXRSmJ14D7JJbcxFRR+JYMZpaffeG\n8mxW8iygzuxaE41geqhdlatG/yKTphoeLSYw+K4yPfyTmRfkdPkEbKL/m4SsmlIF\nVdeaxd6vKJj0ne+FZ+gmh5o=\n-----END PRIVATE KEY-----\n", "client_email": "firebase-adminsdk-fbsvc@georgia-top-roofer.iam.gserviceaccount.com", "client_id": "114863339315507407335", "auth_uri": "https://accounts.google.com/o/oauth2/auth", "token_uri": "https://oauth2.googleapis.com/token", "auth_provider_x509_cert_url": "https://www.googleapis.com/oauth2/v1/certs", "client_x509_cert_url": "https://www.googleapis.com/robot/v1/metadata/x509/firebase-adminsdk-fbsvc%40georgia-top-roofer.iam.gserviceaccount.com", "universe_domain": "googleapis.com" }
FROM_EMAIL | support@upkeepqr.com
FROM_NAME | UpKeepQR Team
JWT_SECRET | JWT_SECRET=6a8f1d2c3b4e596a7c8d9e0f1a2b3c4d5e6f708192a3b4c5d6e7f8091a2b3c4d
POSTMARK_API_TOKEN | dfb83dfd-cea1-4874-9b71-80b0bbb3e945
SENDGRID_API_KEY | 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
STRIPE_WEBHOOK_SECRET | whsec_EI8c7jmUSIlcwwDLe7yWBct7PyMhH4G3
TESTING_STRIPE_SECRET_KEY | pk_test_51S1xsKDCF1d9RFesn71RIzpTPp7NMSJQ2fgHxUNkMmw7HVvusEgfzOSjifK0684tvhAygyDlTBmTNQYH78wAgVHz00OSU4RzHm
TESTING_VITE_STRIPE_PUBLIC_KEY | sk_test_51S1xsKDCF1d9RFesYHI3WnRsDYXEUuZUxWvfcbxU4U0cYQPppmUsdj3OFRXryN7HuMC6elOmdJ7H1VvN0cPWHieQ00ufS4FHwJ
TWILIO_ACCOUNT_SID | AC867696f36d786befd9983a9bba35dfd3
TWILIO_AUTH_TOKEN | 717eb0b96fb9b9ba911eb05595a6b7c1
TWILIO_PHONE_NUMBER | 18555151435
VITE_FIREBASE_API_KEY | JWT_SECRET=6a8f1d2c3b4e596a7c8d9e0f1a2b3c4d5e6f708192a3b4c5d6e7f8091a2b3c4d
VITE_FIREBASE_APP_ID | JWT_SECRET=6a8f1d2c3b4e596a7c8d9e0f1a2b3c4d5e6f708192a3b4c5d6e7f8091a2b3c4d
VITE_FIREBASE_PROJECT_ID | JWT_SECRET=6a8f1d2c3b4e596a7c8d9e0f1a2b3c4d5e6f708192a3b4c5d6e7f8091a2b3c4d